###### Change Proposal Circular

| To | BSC Change Administrators (BCAs)/ Party Agent Change Administrators (PACAs) |
| --- | --- |
| No. | CPC00642 |
| Purpose | For Impact Assessment |
| From | Change Delivery |
| Date | 05 September 2008 |

CPC00642: Impact Assessment of CP1250, 1251, 1252, 1253, 1254, 1255, 1256, 1257, 1258, 1259, 1260 and 1261

In CPC00642 there are 12 Change Proposals for Impact Assessment by your organisation. All 12 CPs are targeted at the February 2009 Release.

Change Proposal

| CP No. | Title | SVA/CVA | Summary of Proposal |
| --- | --- | --- | --- |
| 1250 | Increase opportunity to update the NMTES | SVA | Central Networks raised CP1250, and proposes to change the requirements for Licensed Distribution System Operators (LDSOs) obtaining data to update the National Measurement Transformer Error Statement (NMTES). In the past LDSOs have found it hard to meet the requirement “recently removed from circuit” as CTs or VTs are generally only removed from circuit when they have failed. Therefore it has been difficult to find samples of 50 for a particular make/type to update the NMTES. LDSOs not being able to meet this requirement has resulted in a high number of non-compliances, which may be masking non-compliances which are affecting Settlement data. The changes proposed by CP1250 aim to allow all interested parties to target their time and other resources to more effectively deal with and resolve the actual issues affecting data quality / Settlement data. |
| 1251 | Inferior / Inappropriate Peripheral Devices shall not be used to Collect Automatic Meter Readings | SVA | Smart meters that are capable of Automatic Meter Readings (AMR) are being introduced in the Non-Half Hourly (NHH) market. The roll out of this type of metering is set to increase over the next few years. With smart / AMR reads there is a risk that inferior or inappropriate peripheral devices (hardware and software) may be used to obtain readings for Settlement purposes. At this stage, there are limited controls over the use of such devices. CP1251 proposes to include requirements in Code of Practice (CoP)8 and CoP9 to address this issue. |
| 1252 | Reading Submission Frequency for remote meter readings | SVA | CP1252 proposes to make amendments to BSCP504 to relax the requirement to submit all remote meter readings into Settlement irrespective of reading frequency. This change would mitigate the risk of performance issues surrounding NHHDC and NHHDA systems and processes. It would lift a barrier to the wide-scale roll-out of Smart (AMR) meters, associated with the cost of having to process frequent meter readings. The outcome of the proposal is achieving a balance between improved Settlement accuracy and the costs that would be incurred if an excessive volume of readings were processed. |
| 1253 | Remote Reading Assurance | SVA, CVA and PAB | The Smart Metering Expert Group identified a number of issues regarding the provision of assurance for remote readings entering Settlement. CP1253 sets out the changes required to address these. The CP involves changes to BSCP504 and BSCP537 Appendix 1 and would provide assurance against erroneous data entering Settlement due to potential risk areas around remote meter reading and data transfer. |
| 1254 | Prevention of Unauthorised Access to Smart Meters and Automated Meter Readings (AMR) | SVA and CVA | Smart (AMR) meters are being introduced in the Non-Half Hourly (NHH) market. The roll out of this type of metering is set to increase over the next few years. Meters with remote access are open to the risk of unauthorised access to meter reading data and / or the meter configuration and of insecure communication methods. CP1254 proposes to add requirements to CoP8, CoP9 and PSL100 for there to be an appropriate security regime to be in place for programmable meters. |
| 1255 | Service Descriptions and other CSD Inconsistencies | CVA | As part of the procurement phase of Project Isis, ELEXON drafted detailed business requirements for the CVA, SVA and FAA Agent Services. The business requirements were reviewed against the BSC and Code Subsidiary Documents as part of a due diligence exercise. As a result of this review, we identified inconsistencies in a number of BSCPs, the CVA/SVA Data Catalogues and the Communication Requirement Document. CP1255 proposes to amend the inconsistencies identified in BSCP20, SAA Service Description and CDCA Service Description. |
| 1256 | Action on Backdated D0052 flows | SVA | CP1256 was raised from DCP0029 ‘Recommendations of the Unmetered Supplies Expert Group’. The Unmetered Supplier Expert Group (UMSEG) identified that on occasions it may be necessary for Suppliers or Unmetered Supplies Operators (UMSOs) to issue D0052 ‘Affirmation of Metering System Settlement Details’ to NHHDCs with backdated Effective From dates in order to correct previously-provided data. It is not clear from the current documentation how NHHDCs should process these D0052s, and in particular, whether the data on the new flow should overwrite all previous data provided via the D0052, or only that which is in place up to the next Effective From date. CP1256 proposes changes to BSCP504 and BSCP520 to clarify how backdated D0052s should be handled. |
| 1257 | Calculation of EAC for Temporary Supplies | SVA | CP1257 was raised from DCP0029 ‘Recommendations of the Unmetered Supplies Expert Group’. The UMSEG identified that the rules in BSCP520 for calculating Estimated Annual Consumption (EAC) for temporary supplies are not clear; in particular, they do not reference the splitting of an EAC by Average Fraction of Yearly Consumption (AFYC) or explain which Standard Settlement Configuration (SSC) the EAC should be attributed to. CP1257 proposes to amend BSCP520 to clarify the current process and clearly explain how UMSOs should annualise the EAC for temporary supplies. |
| 1258 | Changes to BSCP520 Following Expert Group Walkthrough | SVA | CP1258 was raised from DCP0029 ‘Recommendations of the Unmetered Supplies Expert Group’ and proposes changes to BSCP520 to remove inefficiencies and inaccuracies in the BSCP520 processes. These were identified by the UMSEG. |
| 1259 | Distributor-Supplier Notification where a Site is capable of Exporting (microgeneration) | SVA | CP1259 was raised from DCP0030 ‘Improving Microgeneration Processes in the Code Subsidiary Documents’, and seeks to ensure that a process in place for Licensed Distribution System Operators (LDSOs) to inform the Import Supplier on becoming aware that a site is capable of Exporting (microgeneration). |
| 1260 | Meter Investigation Process where a Site is capable of Exporting (microgeneration) | SVA | CP1260 was raised from DCP0030 ‘Improving Microgeneration Processes in the Code Subsidiary Documents’ and seeks to ensure that Suppliers are aware when an Import Meter is at risk of capturing Export energy (i.e. when microgeneration will be or has been installed on a site) and to create a process for checking (and if necessary, replacing) the Import metering. |
| 1261 | Introducing Metering Code of Practice 10 to facilitate smart metering in the Half Hourly (HH) market | SVA and CVA | CP1261 was raised from DCP0033 ‘Facilitating smart metering in the Half Hourly (HH) market’ and proposes to introduce a new Code of Practice (CoP10) along with related changes to BSCP502, BSCP514 and BSCP601 to facilitate smart metering in the Half Hourly market. Additional information on how the CP1261 has change since it was DCP0033. DCP0033 proposed that the requirement for annual site visits polyphase HH Metering Systems (or once every two years for single phase HH Metering Systems) should not apply to HH elective Metering Systems. This was on the basis that processes and controls should be appropriate for the level of consumption being metered, rather than how consumption is being metered. Subsequent to the impact assessment of DCP0033, it has been identified that requirement for two yearly inspections of Meters in 12.14-12.16 of the Standard Conditions of the Electricity Supply Licence only applies to NHH Meters. This would leave HH elective Meters without any requirements for inspection. As such, we have amended CP1261, so that there is no requirement on HHDCs to carry out yearly/two-yearly site visits, but there remains a requirement on Suppliers to treat HH elective Metering Systems as NHH in terms of arranging for two yearly site inspections in accordance with Licence Condition 12.14-12.16. |

For details on the expected impacts for the above CPs, please refer to the CP Participant Impact Matrix via the following link: CP Participant Impact Matrix

Details of this Change Proposal will be published on the ELEXON Website shortly.

Impact Assessment

Please carry out an Impact Assessment and redline text review of the attached CPs and return your response using the attached form by 5:00pm on Thursday 02 October 2008.

Please let me know as soon as possible if you are unable to meet this deadline. Please note that lack of any response to a CPC does not indicate a negative response.

If you have any queries, please contact me on 020 7380 4327 or email ccc@elexon.co.uk. Alternatively, contact Ysanne Hills on 020 7380 4162 or email ysanne.hills@elexon.co.uk.

David Barber

ELEXON Change Delivery

Table of Attachments

| CP No. | Attached Documents |
| --- | --- |
| 1250 | CP1250 CP1250 Attachment A – BSCP515 redlined |
| 1251 | CP1251 CP1251 Attachment A – CoP8 redlined CP1251 Attachment B – CoP9 redlined |
| 1252 | CP1252 CP1252 Attachment A – BSCP504 redlined |
| 1253 | CP1253 CP1253 Attachment A – BSCP504 redlined CP1253 Attachment B – BSCP537 Appendix 1 redlined |
| 1254 | CP1254 CP1254 Attachment A – PSL100 redlined CP1254 Attachment B – CoP8 redlined CP1254 Attachment C – CoP9 redlined |
| 1255 | CP1255 CP1255 Attachment A – BSCP20 redlined |
| 1256 | CP1256 CP1256 Attachment A – BSCP504 redlined CP1256 Attachment B – BSCP520 redlined |
| 1257 | CP1257 CP1257 Attachment A – BSCP520 redlined |
| 1258 | CP1258 CP1258 Attachment A – BSCP520 redlined |
| 1259 | CP1259 CP1259 Attachment A – BSCP515 redlined CP1259 Attachment B – SVA Data Catalogue volume 1 redlined |
| 1260 | CP1260 CP1260 Attachment A – BSCP514 redlined |
| 1261 | CP1261 CP1261 Attachment A – CoP10 CP1261 Attachment B – BSCP502 redlined CP1261 Attachment C – BSCP514 redlined CP1261 Attachment D – BSCP601 redlined CP1261 Attachment E – CoP4 redlined CP1261 Attachment F – Matrix CP1261 Attachment G – processes considered |

To: David Barber

Email:	ccc@elexon.co.uk

Change Proposal Impact Assessment Forms

| Organisation: |  |  |  |  |
| --- | --- | --- | --- | --- |
| Capacity Organisation operates in (e.g. Supplier, HDDC, etc.) |  |  |  |  |
| Assessor Name |  |  |  |  |
| Contact Name (if different to Assessor) |  |  | BCA/PACA: |  |
| Contact email: |  |  | Phone no: |  |
| Please tick if this information is to be used for all DCPs/CPs: |  |  |  |  |

| Change Proposal Impact Assessment Form |  |  |  |  |  |  |  |  |  | CP No: |  |  | 1250 |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Title: | Increase opportunity to update the NMTES |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Proposed Implementation Date: |  |  |  | February 2008 Release |  |  |  |  |  |  |  |  |  |  |
| Agree Change? (Please delete as appropriate) |  |  |  |  |  |  |  |  |  |  | Yes/ No/ Neutral |  |  |  |
| Comments |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Additional Questions |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Do you agree that the sample should be based on all test records or limited to those that have recently been removed from service – please provide rationale to support your view? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Assuming the sample is based on all test records, do you agree that the number of VTs in the sample should be reduced – please provide rationale to support your view and quantitative evidence to support the number of VTs you believe is most appropriate? |  |  |  |  |  |  | Comments |  |  |  |  |  |  |  |
| Impact on Organisation’s Systems and/or Processes? (Please delete as appropriate) |  |  |  |  |  |  |  |  |  |  |  |  |  | Yes/ No |
| Capacity in which Organisation is impacted (e.g. Supplier, HHDC, etc) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Impact on Organisation (e.g. systems/process changes) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| How much Implementation Notification is required from receipt of approved redline text changes? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| No. of Calendar Days |  |  |  |  | Comments |  |  |  |  |  |  |  |  |  |
| Would implementation in the proposed Release have an adverse impact? (please state impact) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Other Comments: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Assessor Name |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Contact Name (if different to Assessor) |  |  |  |  |  |  |  |  | BCA/PACA: |  |  |  |  |  |
| Contact email: |  |  |  |  |  |  |  |  | Phone no: |  |  |  |  |  |

| Please review the Redline text for CP1250 and use the following table to for any comments you have. |  |  |  |  |
| --- | --- | --- | --- | --- |
| Point no. | Document name (e.g. BSCPXXXX/CoPX) | Location (Section and paragraph numbers) | Severity Code (H/M/L – see below) | Comments by Reviewer |
| 1 |  |  |  |  |
| 2 |  |  |  |  |
| 3 |  |  |  |  |
| 4 |  |  |  |  |
| 5 |  |  |  |  |
| 6 |  |  |  |  |
| 7 |  |  |  |  |
| 8 |  |  |  |  |
| 9 |  |  |  |  |
| 10 |  |  |  |  |

Severity Codes:

H (high): Prejudices document’s conclusions, recommendations or fitness for purpose.

M (medium): Matter of substance, but not high.

L (low): Minor error but document’s intention is clear.

| Change Proposal Impact Assessment Form |  |  |  |  |  |  |  |  | CP No: |  |  | 1251 |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Title: | Inferior / Inappropriate Peripheral Devices shall not be used to Collect Automatic Meter Readings |  |  |  |  |  |  |  |  |  |  |  |  |
| Proposed Implementation Date: |  |  |  | February 2008 Release |  |  |  |  |  |  |  |  |  |
| Agree Change? (Please delete as appropriate) |  |  |  |  |  |  |  |  |  | Yes/ No/ Neutral |  |  |  |
| Comments |  | Comments |  |  |  |  |  |  |  |  |  |  |  |
| Impact on Organisation’s Systems and/or Processes? (Please delete as appropriate) |  |  |  |  |  |  |  |  |  |  |  |  | Yes/ No |
| Capacity in which Organisation is impacted (e.g. Supplier, HHDC, etc) |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Impact on Organisation (e.g. systems/process changes) |  |  |  |  |  |  |  |  |  |  |  |  |  |
| How much Implementation Notification is required from receipt of approved redline text changes? |  |  |  |  |  |  |  |  |  |  |  |  |  |
| No. of Calendar Days |  |  |  |  | Comments |  |  |  |  |  |  |  |  |
| Would implementation in the proposed Release have an adverse impact? (please state impact) |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Other Comments: |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Assessor Name |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Contact Name (if different to Assessor) |  |  |  |  |  |  |  | BCA/PACA: |  |  |  |  |  |
| Contact email: |  |  |  |  |  |  |  | Phone no: |  |  |  |  |  |

| Please review the Redline text for CP1251 and use the following table to for any comments you have. |  |  |  |  |
| --- | --- | --- | --- | --- |
| Point no. | Document name (e.g. BSCPXXXX/CoPX) | Location (Section and paragraph numbers) | Severity Code (H/M/L – see below) | Comments by Reviewer |
| 1 |  |  |  |  |
| 2 |  |  |  |  |
| 3 |  |  |  |  |
| 4 |  |  |  |  |
| 5 |  |  |  |  |
| 6 |  |  |  |  |
| 7 |  |  |  |  |
| 8 |  |  |  |  |
| 9 |  |  |  |  |
| 10 |  |  |  |  |
| 11 |  |  |  |  |
| 12 |  |  |  |  |

Severity Codes:

H (high): Prejudices document’s conclusions, recommendations or fitness for purpose.

M (medium): Matter of substance, but not high.

L (low): Minor error but document’s intention is clear.

| Change Proposal Impact Assessment Form |  |  |  |  |  |  |  |  | CP No: |  |  | 1252 |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Title: | Reading Submission Frequency for remote meter readings |  |  |  |  |  |  |  |  |  |  |  |  |
| Proposed Implementation Date: |  |  |  | February 2008 Release |  |  |  |  |  |  |  |  |  |
| Agree Change? (Please delete as appropriate) |  |  |  |  |  |  |  |  |  | Yes/ No/ Neutral |  |  |  |
| Comments |  | Comments |  |  |  |  |  |  |  |  |  |  |  |
| Impact on Organisation’s Systems and/or Processes? (Please delete as appropriate) |  |  |  |  |  |  |  |  |  |  |  |  | Yes/ No |
| Capacity in which Organisation is impacted (e.g. Supplier, HHDC, etc) |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Impact on Organisation (e.g. systems/process changes) |  |  |  |  |  |  |  |  |  |  |  |  |  |
| How much Implementation Notification is required from receipt of approved redline text changes? |  |  |  |  |  |  |  |  |  |  |  |  |  |
| No. of Calendar Days |  |  |  |  | Comments |  |  |  |  |  |  |  |  |
| Would implementation in the proposed Release have an adverse impact? (please state impact) |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Other Comments: |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Assessor Name |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Contact Name (if different to Assessor) |  |  |  |  |  |  |  | BCA/PACA: |  |  |  |  |  |
| Contact email: |  |  |  |  |  |  |  | Phone no: |  |  |  |  |  |

| Please review the Redline text for CP1252 and use the following table to for any comments you have. |  |  |  |  |
| --- | --- | --- | --- | --- |
| Point no. | Document name (e.g. BSCPXXXX/CoPX) | Location (Section and paragraph numbers) | Severity Code (H/M/L – see below) | Comments by Reviewer |
| 1 |  |  |  |  |
| 2 |  |  |  |  |
| 3 |  |  |  |  |
| 4 |  |  |  |  |
| 5 |  |  |  |  |
| 6 |  |  |  |  |
| 7 |  |  |  |  |
| 8 |  |  |  |  |
| 9 |  |  |  |  |
| 10 |  |  |  |  |
| 11 |  |  |  |  |
| 12 |  |  |  |  |

Severity Codes:

H (high): Prejudices document’s conclusions, recommendations or fitness for purpose.

M (medium): Matter of substance, but not high.

L (low): Minor error but document’s intention is clear.

| Change Proposal Impact Assessment Form |  |  |  |  |  |  |  |  | CP No: |  |  | 1253 |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Title: | Remote Reading Assurance |  |  |  |  |  |  |  |  |  |  |  |  |
| Proposed Implementation Date: |  |  |  | February 2008 Release |  |  |  |  |  |  |  |  |  |
| Agree Change? (Please delete as appropriate) |  |  |  |  |  |  |  |  |  | Yes/ No/ Neutral |  |  |  |
| Comments |  | Comments |  |  |  |  |  |  |  |  |  |  |  |
| Impact on Organisation’s Systems and/or Processes? (Please delete as appropriate) |  |  |  |  |  |  |  |  |  |  |  |  | Yes/ No |
| Capacity in which Organisation is impacted (e.g. Supplier, HHDC, etc) |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Impact on Organisation (e.g. systems/process changes) |  |  |  |  |  |  |  |  |  |  |  |  |  |
| How much Implementation Notification is required from receipt of approved redline text changes? |  |  |  |  |  |  |  |  |  |  |  |  |  |
| No. of Calendar Days |  |  |  |  | Comments |  |  |  |  |  |  |  |  |
| Would implementation in the proposed Release have an adverse impact? (please state impact) |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Other Comments: |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Assessor Name |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Contact Name (if different to Assessor) |  |  |  |  |  |  |  | BCA/PACA: |  |  |  |  |  |
| Contact email: |  |  |  |  |  |  |  | Phone no: |  |  |  |  |  |

| Please review the Redline text for CP1253 and use the following table to for any comments you have. |  |  |  |  |
| --- | --- | --- | --- | --- |
| Point no. | Document name (e.g. BSCPXXXX/CoPX) | Location (Section and paragraph numbers) | Severity Code (H/M/L – see below) | Comments by Reviewer |
| 1 |  |  |  |  |
| 2 |  |  |  |  |
| 3 |  |  |  |  |
| 4 |  |  |  |  |
| 5 |  |  |  |  |
| 6 |  |  |  |  |
| 7 |  |  |  |  |
| 8 |  |  |  |  |
| 9 |  |  |  |  |
| 10 |  |  |  |  |
| 11 |  |  |  |  |
| 12 |  |  |  |  |

Severity Codes:

H (high): Prejudices document’s conclusions, recommendations or fitness for purpose.

M (medium): Matter of substance, but not high.

L (low): Minor error but document’s intention is clear.

| Change Proposal Impact Assessment Form |  |  |  |  |  |  |  |  | CP No: |  |  | 1254 |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Title: | Prevention of Unauthorised Access to Smart Meters and Automated Meter Readings (AMR) |  |  |  |  |  |  |  |  |  |  |  |  |
| Proposed Implementation Date: |  |  |  | February 2008 Release |  |  |  |  |  |  |  |  |  |
| Agree Change? (Please delete as appropriate) |  |  |  |  |  |  |  |  |  | Yes/ No/ Neutral |  |  |  |
| Comments |  | Comments |  |  |  |  |  |  |  |  |  |  |  |
| Impact on Organisation’s Systems and/or Processes? (Please delete as appropriate) |  |  |  |  |  |  |  |  |  |  |  |  | Yes/ No |
| Capacity in which Organisation is impacted (e.g. Supplier, HHDC, etc) |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Impact on Organisation (e.g. systems/process changes) |  |  |  |  |  |  |  |  |  |  |  |  |  |
| How much Implementation Notification is required from receipt of approved redline text changes? |  |  |  |  |  |  |  |  |  |  |  |  |  |
| No. of Calendar Days |  |  |  |  | Comments |  |  |  |  |  |  |  |  |
| Would implementation in the proposed Release have an adverse impact? (please state impact) |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Other Comments: |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Assessor Name |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Contact Name (if different to Assessor) |  |  |  |  |  |  |  | BCA/PACA: |  |  |  |  |  |
| Contact email: |  |  |  |  |  |  |  | Phone no: |  |  |  |  |  |

| Please review the Redline text for CP1254 and use the following table to for any comments you have. |  |  |  |  |
| --- | --- | --- | --- | --- |
| Point no. | Document name (e.g. BSCPXXXX/CoPX) | Location (Section and paragraph numbers) | Severity Code (H/M/L – see below) | Comments by Reviewer |
| 1 |  |  |  |  |
| 2 |  |  |  |  |
| 3 |  |  |  |  |
| 4 |  |  |  |  |
| 5 |  |  |  |  |
| 6 |  |  |  |  |
| 7 |  |  |  |  |
| 8 |  |  |  |  |
| 9 |  |  |  |  |
| 10 |  |  |  |  |
| 11 |  |  |  |  |
| 12 |  |  |  |  |

Severity Codes:

H (high): Prejudices document’s conclusions, recommendations or fitness for purpose.

M (medium): Matter of substance, but not high.

L (low): Minor error but document’s intention is clear.

| Change Proposal Impact Assessment Form |  |  |  |  |  |  |  |  | CP No: |  |  | 1255 |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Title: | Service Descriptions and other CSD Inconsistencies |  |  |  |  |  |  |  |  |  |  |  |  |
| Proposed Implementation Date: |  |  |  | February 2008 Release |  |  |  |  |  |  |  |  |  |
| Agree Change? (Please delete as appropriate) |  |  |  |  |  |  |  |  |  | Yes/ No/ Neutral |  |  |  |
| Comments |  | Comments |  |  |  |  |  |  |  |  |  |  |  |
| Impact on Organisation’s Systems and/or Processes? (Please delete as appropriate) |  |  |  |  |  |  |  |  |  |  |  |  | Yes/ No |
| Capacity in which Organisation is impacted (e.g. Supplier, HHDC, etc) |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Impact on Organisation (e.g. systems/process changes) |  |  |  |  |  |  |  |  |  |  |  |  |  |
| How much Implementation Notification is required from receipt of approved redline text changes? |  |  |  |  |  |  |  |  |  |  |  |  |  |
| No. of Calendar Days |  |  |  |  | Comments |  |  |  |  |  |  |  |  |
| Would implementation in the proposed Release have an adverse impact? (please state impact) |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Other Comments: |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Assessor Name |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Contact Name (if different to Assessor) |  |  |  |  |  |  |  | BCA/PACA: |  |  |  |  |  |
| Contact email: |  |  |  |  |  |  |  | Phone no: |  |  |  |  |  |

| Please review the Redline text for CP1255 and use the following table to for any comments you have. |  |  |  |  |
| --- | --- | --- | --- | --- |
| Point no. | Document name (e.g. BSCPXXXX/CoPX) | Location (Section and paragraph numbers) | Severity Code (H/M/L – see below) | Comments by Reviewer |
| 1 |  |  |  |  |
| 2 |  |  |  |  |
| 3 |  |  |  |  |
| 4 |  |  |  |  |
| 5 |  |  |  |  |
| 6 |  |  |  |  |
| 7 |  |  |  |  |
| 8 |  |  |  |  |
| 9 |  |  |  |  |
| 10 |  |  |  |  |
| 11 |  |  |  |  |
| 12 |  |  |  |  |

Severity Codes:

H (high): Prejudices document’s conclusions, recommendations or fitness for purpose.

M (medium): Matter of substance, but not high.

L (low): Minor error but document’s intention is clear.

| Change Proposal Impact Assessment Form |  |  |  |  |  |  |  |  | CP No: |  |  | 1256 |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Title: | Action on Backdated D0052 flows |  |  |  |  |  |  |  |  |  |  |  |  |
| Proposed Implementation Date: |  |  |  | February 2008 Release |  |  |  |  |  |  |  |  |  |
| Agree Change? (Please delete as appropriate) |  |  |  |  |  |  |  |  |  | Yes/ No/ Neutral |  |  |  |
| Comments |  | Comments |  |  |  |  |  |  |  |  |  |  |  |
| Impact on Organisation’s Systems and/or Processes? (Please delete as appropriate) |  |  |  |  |  |  |  |  |  |  |  |  | Yes/ No |
| Capacity in which Organisation is impacted (e.g. Supplier, HHDC, etc) |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Impact on Organisation (e.g. systems/process changes) |  |  |  |  |  |  |  |  |  |  |  |  |  |
| How much Implementation Notification is required from receipt of approved redline text changes? |  |  |  |  |  |  |  |  |  |  |  |  |  |
| No. of Calendar Days |  |  |  |  | Comments |  |  |  |  |  |  |  |  |
| Would implementation in the proposed Release have an adverse impact? (please state impact) |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Other Comments: |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Assessor Name |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Contact Name (if different to Assessor) |  |  |  |  |  |  |  | BCA/PACA: |  |  |  |  |  |
| Contact email: |  |  |  |  |  |  |  | Phone no: |  |  |  |  |  |

| Please review the Redline text for CP1256 and use the following table to for any comments you have. |  |  |  |  |
| --- | --- | --- | --- | --- |
| Point no. | Document name (e.g. BSCPXXXX/CoPX) | Location (Section and paragraph numbers) | Severity Code (H/M/L – see below) | Comments by Reviewer |
| 1 |  |  |  |  |
| 2 |  |  |  |  |
| 3 |  |  |  |  |
| 4 |  |  |  |  |
| 5 |  |  |  |  |
| 6 |  |  |  |  |
| 7 |  |  |  |  |
| 8 |  |  |  |  |
| 9 |  |  |  |  |
| 10 |  |  |  |  |
| 11 |  |  |  |  |
| 12 |  |  |  |  |

Severity Codes:

H (high): Prejudices document’s conclusions, recommendations or fitness for purpose.

M (medium): Matter of substance, but not high.

L (low): Minor error but document’s intention is clear.

| Change Proposal Impact Assessment Form |  |  |  |  |  |  |  |  | CP No: |  |  | 1257 |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Title: | Calculation of EAC for Temporary Supplies |  |  |  |  |  |  |  |  |  |  |  |  |
| Proposed Implementation Date: |  |  |  | February 2008 Release |  |  |  |  |  |  |  |  |  |
| Agree Change? (Please delete as appropriate) |  |  |  |  |  |  |  |  |  | Yes/ No/ Neutral |  |  |  |
| Comments |  | Comments |  |  |  |  |  |  |  |  |  |  |  |
| Impact on Organisation’s Systems and/or Processes? (Please delete as appropriate) |  |  |  |  |  |  |  |  |  |  |  |  | Yes/ No |
| Capacity in which Organisation is impacted (e.g. Supplier, HHDC, etc) |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Impact on Organisation (e.g. systems/process changes) |  |  |  |  |  |  |  |  |  |  |  |  |  |
| How much Implementation Notification is required from receipt of approved redline text changes? |  |  |  |  |  |  |  |  |  |  |  |  |  |
| No. of Calendar Days |  |  |  |  | Comments |  |  |  |  |  |  |  |  |
| Would implementation in the proposed Release have an adverse impact? (please state impact) |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Other Comments: |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Assessor Name |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Contact Name (if different to Assessor) |  |  |  |  |  |  |  | BCA/PACA: |  |  |  |  |  |
| Contact email: |  |  |  |  |  |  |  | Phone no: |  |  |  |  |  |

| Please review the Redline text for CP1257 and use the following table to for any comments you have. |  |  |  |  |
| --- | --- | --- | --- | --- |
| Point no. | Document name (e.g. BSCPXXXX/CoPX) | Location (Section and paragraph numbers) | Severity Code (H/M/L – see below) | Comments by Reviewer |
| 1 |  |  |  |  |
| 2 |  |  |  |  |
| 3 |  |  |  |  |
| 4 |  |  |  |  |
| 5 |  |  |  |  |
| 6 |  |  |  |  |
| 7 |  |  |  |  |
| 8 |  |  |  |  |
| 9 |  |  |  |  |
| 10 |  |  |  |  |
| 11 |  |  |  |  |
| 12 |  |  |  |  |

Severity Codes:

H (high): Prejudices document’s conclusions, recommendations or fitness for purpose.

M (medium): Matter of substance, but not high.

L (low): Minor error but document’s intention is clear.

| Change Proposal Impact Assessment Form |  |  |  |  |  |  |  |  | CP No: |  |  | 1258 |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Title: | Changes to BSCP520 Following Expert Group Walkthrough |  |  |  |  |  |  |  |  |  |  |  |  |
| Proposed Implementation Date: |  |  |  | February 2008 Release |  |  |  |  |  |  |  |  |  |
| Agree Change? (Please delete as appropriate) |  |  |  |  |  |  |  |  |  | Yes/ No/ Neutral |  |  |  |
| Comments |  | Comments |  |  |  |  |  |  |  |  |  |  |  |
| Impact on Organisation’s Systems and/or Processes? (Please delete as appropriate) |  |  |  |  |  |  |  |  |  |  |  |  | Yes/ No |
| Capacity in which Organisation is impacted (e.g. Supplier, HHDC, etc) |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Impact on Organisation (e.g. systems/process changes) |  |  |  |  |  |  |  |  |  |  |  |  |  |
| How much Implementation Notification is required from receipt of approved redline text changes? |  |  |  |  |  |  |  |  |  |  |  |  |  |
| No. of Calendar Days |  |  |  |  | Comments |  |  |  |  |  |  |  |  |
| Would implementation in the proposed Release have an adverse impact? (please state impact) |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Other Comments: |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Assessor Name |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Contact Name (if different to Assessor) |  |  |  |  |  |  |  | BCA/PACA: |  |  |  |  |  |
| Contact email: |  |  |  |  |  |  |  | Phone no: |  |  |  |  |  |

| Please review the Redline text for CP1258 and use the following table to for any comments you have. |  |  |  |  |
| --- | --- | --- | --- | --- |
| Point no. | Document name (e.g. BSCPXXXX/CoPX) | Location (Section and paragraph numbers) | Severity Code (H/M/L – see below) | Comments by Reviewer |
| 1 |  |  |  |  |
| 2 |  |  |  |  |
| 3 |  |  |  |  |
| 4 |  |  |  |  |
| 5 |  |  |  |  |
| 6 |  |  |  |  |
| 7 |  |  |  |  |
| 8 |  |  |  |  |
| 9 |  |  |  |  |
| 10 |  |  |  |  |
| 11 |  |  |  |  |
| 12 |  |  |  |  |

Severity Codes:

H (high): Prejudices document’s conclusions, recommendations or fitness for purpose.

M (medium): Matter of substance, but not high.

L (low): Minor error but document’s intention is clear.

| Change Proposal Impact Assessment Form |  |  |  |  |  |  |  |  | CP No: |  |  | 1259 |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Title: | Distributor-Supplier Notification where a Site is capable of Exporting (microgeneration) |  |  |  |  |  |  |  |  |  |  |  |  |
| Proposed Implementation Date: |  |  |  | February 2008 Release |  |  |  |  |  |  |  |  |  |
| Agree Change? (Please delete as appropriate) |  |  |  |  |  |  |  |  |  | Yes/ No/ Neutral |  |  |  |
| Comments |  | Comments |  |  |  |  |  |  |  |  |  |  |  |
| Impact on Organisation’s Systems and/or Processes? (Please delete as appropriate) |  |  |  |  |  |  |  |  |  |  |  |  | Yes/ No |
| Capacity in which Organisation is impacted (e.g. Supplier, HHDC, etc) |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Impact on Organisation (e.g. systems/process changes) |  |  |  |  |  |  |  |  |  |  |  |  |  |
| How much Implementation Notification is required from receipt of approved redline text changes? |  |  |  |  |  |  |  |  |  |  |  |  |  |
| No. of Calendar Days |  |  |  |  | Comments |  |  |  |  |  |  |  |  |
| Would implementation in the proposed Release have an adverse impact? (please state impact) |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Other Comments: |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Assessor Name |  |  |  |  |  |  |  | BCA/PACA: |  |  |  |  |  |
| Contact Name (if different to Assessor) |  |  |  |  |  |  |  | Phone no: |  |  |  |  |  |
| Contact email: |  |  |  |  |  |  |  |  |  |  |  |  |  |

| Please review the Redline text for CP1259 and use the following table to for any comments you have. |  |  |  |  |
| --- | --- | --- | --- | --- |
| Point no. | Document name (e.g. BSCPXXXX/CoPX) | Location (Section and paragraph numbers) | Severity Code (H/M/L – see below) | Comments by Reviewer |
| 1 |  |  |  |  |
| 2 |  |  |  |  |
| 3 |  |  |  |  |
| 4 |  |  |  |  |
| 5 |  |  |  |  |
| 6 |  |  |  |  |
| 7 |  |  |  |  |
| 8 |  |  |  |  |
| 9 |  |  |  |  |
| 10 |  |  |  |  |
| 11 |  |  |  |  |
| 12 |  |  |  |  |

Severity Codes:

H (high): Prejudices document’s conclusions, recommendations or fitness for purpose.

M (medium): Matter of substance, but not high.

L (low): Minor error but document’s intention is clear.

| Change Proposal Impact Assessment Form |  |  |  |  |  |  |  |  | CP No: |  |  | 1260 |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Title: | Meter Investigation Process where a Site is capable of Exporting (microgeneration) |  |  |  |  |  |  |  |  |  |  |  |  |
| Proposed Implementation Date: |  |  |  | February 2008 Release |  |  |  |  |  |  |  |  |  |
| Agree Change? (Please delete as appropriate) |  |  |  |  |  |  |  |  |  | Yes/ No/ Neutral |  |  |  |
| Comments |  | Comments |  |  |  |  |  |  |  |  |  |  |  |
| Impact on Organisation’s Systems and/or Processes? (Please delete as appropriate) |  |  |  |  |  |  |  |  |  |  |  |  | Yes/ No |
| Capacity in which Organisation is impacted (e.g. Supplier, HHDC, etc) |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Impact on Organisation (e.g. systems/process changes) |  |  |  |  |  |  |  |  |  |  |  |  |  |
| How much Implementation Notification is required from receipt of approved redline text changes? |  |  |  |  |  |  |  |  |  |  |  |  |  |
| No. of Calendar Days |  |  |  |  | Comments |  |  |  |  |  |  |  |  |
| Would implementation in the proposed Release have an adverse impact? (please state impact) |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Other Comments: |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Assessor Name |  |  |  |  |  |  |  | BCA/PACA: |  |  |  |  |  |
| Contact Name (if different to Assessor) |  |  |  |  |  |  |  | Phone no: |  |  |  |  |  |
| Contact email: |  |  |  |  |  |  |  |  |  |  |  |  |  |

| Please review the Redline text for CP1260 and use the following table to for any comments you have. |  |  |  |  |
| --- | --- | --- | --- | --- |
| Point no. | Document name (e.g. BSCPXXXX/CoPX) | Location (Section and paragraph numbers) | Severity Code (H/M/L – see below) | Comments by Reviewer |
| 1 |  |  |  |  |
| 2 |  |  |  |  |
| 3 |  |  |  |  |
| 4 |  |  |  |  |
| 5 |  |  |  |  |
| 6 |  |  |  |  |
| 7 |  |  |  |  |
| 8 |  |  |  |  |
| 9 |  |  |  |  |
| 10 |  |  |  |  |
| 11 |  |  |  |  |
| 12 |  |  |  |  |

Severity Codes:

H (high): Prejudices document’s conclusions, recommendations or fitness for purpose.

M (medium): Matter of substance, but not high.

L (low): Minor error but document’s intention is clear.

| Change Proposal Impact Assessment Form |  |  |  |  |  |  |  |  | CP No: |  |  | 1261 |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Title: | Introducing Metering Code of Practice 10 to facilitate smart metering in the Half Hourly (HH) market |  |  |  |  |  |  |  |  |  |  |  |  |
| Proposed Implementation Date: |  |  |  | February 2008 Release |  |  |  |  |  |  |  |  |  |
| Agree Change? (Please delete as appropriate) |  |  |  |  |  |  |  |  |  | Yes/ No/ Neutral |  |  |  |
| Comments |  | Comments |  |  |  |  |  |  |  |  |  |  |  |
| Impact on Organisation’s Systems and/or Processes? (Please delete as appropriate) |  |  |  |  |  |  |  |  |  |  |  |  | Yes/ No |
| Capacity in which Organisation is impacted (e.g. Supplier, HHDC, etc) |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Impact on Organisation (e.g. systems/process changes) |  |  |  |  |  |  |  |  |  |  |  |  |  |
| How much Implementation Notification is required from receipt of approved redline text changes? |  |  |  |  |  |  |  |  |  |  |  |  |  |
| No. of Calendar Days |  |  |  |  | Comments |  |  |  |  |  |  |  |  |
| Would implementation in the proposed Release have an adverse impact? (please state impact) |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Other Comments: |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Assessor Name |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Contact Name (if different to Assessor) |  |  |  |  |  |  |  | BCA/PACA: |  |  |  |  |  |
| Contact email: |  |  |  |  |  |  |  | Phone no: |  |  |  |  |  |

| Please review the Redline text for CP1261 and use the following table to for any comments you have. |  |  |  |  |
| --- | --- | --- | --- | --- |
| Point no. | Document name (e.g. BSCPXXXX/CoPX) | Location (Section and paragraph numbers) | Severity Code (H/M/L – see below) | Comments by Reviewer |
| 1 |  |  |  |  |
| 2 |  |  |  |  |
| 3 |  |  |  |  |
| 4 |  |  |  |  |
| 5 |  |  |  |  |
| 6 |  |  |  |  |
| 7 |  |  |  |  |
| 8 |  |  |  |  |
| 9 |  |  |  |  |
| 10 |  |  |  |  |
| 11 |  |  |  |  |
| 12 |  |  |  |  |

Severity Codes:

H (high): Prejudices document’s conclusions, recommendations or fitness for purpose.

M (medium): Matter of substance, but not high.

L (low): Minor error but document’s intention is clear.

Please note that the contents of the CP Participant Impact Matrices may not be exhaustive. Please carefully review the attached CP to determine the impact on your organisation.