## Master
Category | Sr.No | Regulation Ref | EMFIP BRS Ref | Requirement Title | ERGEG Title | Description | Threshold/ Unit | Number of Values | Data Item under BMRS | BSC Ref | Correlation | Notes | Duration of Data | Timing | Published on | Data Owner | Impact on GB Code | As-Is Process | To-Be | Display
Load | 1 | A6 1a | 7.2 | Actual Load | ACTUAL TOTAL LOAD PER BIDDING ZONE | For a given Bidding Zone and Control Area, actual total load is described with one total load value per Market Time Unit period, expressed in measure Unit (MW). | MW | Number of MTUs per day | Initial Demand Out-turn | Q6.1.13 - Initial National Demand Out-Turn | H | Total load is similar to National Demand, but includes demand supplied by small generators (or an estimate thereof). | - | One hour after the Operating Period | Elexon |  |  | IS - SPICE outturn demand publication to BMRS | EFS | Title - Country, Bidding Zone or Control Area name - Day - Measurement Unit - For each Market Time Unit period within the selected Day, the total load value and absorbed power (if provided)
Load | 2 | A6 1b | 7.3 | Day ahead Load | DAY-AHEAD TOTAL LOAD FORECAST PER BIDDING ZONE | For a given Bidding Zone and Control Area, the day-ahead total forecast is described as the forecast of the total load during one day, with one total load Value per Market Time Unit period, in measure Unit (MW). | MW | Number of MTUs per day | Current Day and Day Ahead Updated Market Information | Q6.1.5 - National Demand forecast | H | Total load is similar to National Demand, but includes demand supplied by small generators (or an estimate thereof). | One Day | Two hours before gate closure | Elexon |  |  | EF - Demand Forecasting process | EFS | Title - Country, Bidding Zone or Control Area name - Selected day - Measurement Unit - For each Market Time Unit period during the selected day, the forecast total load value
Load | 3 | A6 1c | 7.4 | Week Ahead Estimates | WEEK-AHEAD TOTAL LOAD FORECAST PER BIDDING ZONE | For a given Bidding Zone and Control Area, the week-ahead total forecast is described as the forecast of the total load for one week, with one minimum total load value and one maximum total load value per day, in measure Unit (MW). | MW | One Minimum Load Value and One Maximum Load Value per day | 2-14 days ahead (NDFD) National demand (Transmission System) forecast | Q6.1.3 - National Demand forecast | H | Total load is similar to National Demand, but includes demand supplied by small generators (or an estimate thereof). Transparency Regulation requires maximum and minimum for each day of week (compared to maximum for each of days 2-14). | One Week | Each Friday, Two hours before gate closure | Elexon |  |  | EF - Demand Forecasting process | EFS | Title - Country, Bidding Zone or Control Area name - Selected week - Measurement Unit - For each day during the selected week, the forecast minimum total load value and maximum total load value
Load | 4 | A6 1d | 7.5 | ` | MONTH-AHEAD TOTAL LOAD FORECAST PER BIDDING ZONE | For a given Bidding Zone and Control Area, the month-ahead total forecast is described as the forecast of the total load for one month, with one minimum total load value and one maximum total load value per week, in measure Unit (MW). | MW | One Minimum Load Value and One Maximum Load Value per week | 2-52 weeks ahead (NDFW) National demand forecast 2-52 weeks ahead (TSDFW) Transmission System demand forecast | Q6.1.2(a) Q6.1.2(b) | H | Total load is similar to National Demand, but includes demand supplied by small generators (or an estimate thereof). Transparency Regulation requires maximum and minimum for each week of following month (compared to maximum for each of weeks 2-52). | One Month | One week before the delivery month | Elexon |  |  | EF - Demand Forecasting process | EFS | Title - Country, Bidding Zone or Control Area name - Selected month - Measurement Unit - For each week within the selected month, the forecast minimum total load value and maximum total load value
Load | 5 | A6 1e | 7.6 | Year Ahead Estimates | YEAR-AHEAD TOTAL LOAD FORECAST PER BIDDING ZONE | For a given Bidding Zone and Control Area, the forecast of the total load for one year is described by one minimum total load value and one maximum total load value per week, in measure Unit (MW). | MW | One Minimum Load Value and One Maximum Load Value per month | 2-52 weeks ahead (NDFW) National demand forecast 2-52 weeks ahead (TSDFW) Transmission System demand forecast | Q6.1.2(a) Q6.1.2(b) | H | Total load is similar to National Demand, but includes demand supplied by small generators (or an estimate thereof). Transparency Regulation requires maximum and minimum for each week of following year (compared to maximum for each of weeks 2-52). | One Year | 15th of the month before the year to which the data refers to | Elexon |  |  | EF - Demand Forecasting process | EFS | Title - Country, Bidding Zone or Control Area name - Selected year - Measurement Unit - For each week within the selected year, the forecast minimum total load value and maximum total load value
Outages | 6 | A7 1a | 11.8 | Forecast Planned Unavailability of Consumption Units (>=100MW) | PLANNED UNAVAILABILITY OF CONSUMPTION UNITS | A planned unavailability on consumption unit is described by the following: - An identification of the outage, having a status (active or cancelled) - Bidding Zone and Control Area - The outage subject, defined by the asset Type (Consumption Unit) and its unique code - The estimated unavailability time interval - The unavailable consumption capacity in Measure Unit - The reason for the planned unavailability - Optionally, a free-text comment may be provided - Measure Unit is fixed to megawatt (MW) - Type of outage is “planned” | 100MW | - | BM Unit Physical Data | Q6.1.10 | L (or H if P291 approved) | This doesn't correspond that well with anything published under the current BSC baseline. Maximum Import Limit (MIL) may provide some insight into this, but only if the consumption unit had registered its own BM Unit, and in any case it's not published until Gate Closure. This would change if P291 were approved, as this type of outage information would be within P291 scope. | - | One hour after decision regarding planned unavailability | Elexon |  |  | IS - SPICE daily MEL submissions to BMRS | EBS | Title - Measure Unit - MTU For each outage that falls within the selected date or date range, the following details are 4419 displayed: - Status (active or cancelled) - Type of unavailability (planned or actual) - The reason for the outage - Country or Bidding Zone - Start date and time - End date and time - The aggregated unavailable consumption capacity per MTU period, by country or Bidding Zone: Separate values for planned unavailability, changes in actual availability and a grand total If there is more than one version of the data, i.e. when an update has been submitted, then all versions shall become visible by expanding the view.
Outages | 7 | A7 1b | 11.9 | Forecast Unplanned Unavailability of Consumption Units (>=100MW) | CHANGES IN ACTUAL AVAILABILITY OF CONSUMPTION UNITS | Data description is almost identical to data item “Planned unavailability of consumption units [7.1.a]”, refer to chapter 11.8. The differences are: - outage type is “actual” - status is always “active” | 100MW | - | BM Unit Physical Data | Q6.1.10 | L (or H if P291 approved) | This doesn't correspond that well with anything published under the current BSC baseline. Maximum Import Limit (MIL) may provide some insight into this, but only if the consumption unit had registered its own BM Unit. This would change if P291 were approved, as this type of outage information would be within P291 scope. | - | One hour after decision regarding planned unavailability | Elexon |  |  | IS - SPICE daily MEL submissions to BMRS | EBS | same as above
Load | 8 | A8 1 | 7.7 | Year Ahead Forecast Margin | YEAR-AHEAD FORECAST MARGIN | For a given Bidding Zone and Control Area, the year-ahead forecast margin is described as one forecast margin value for the whole year, expressed in measure Unit (MW). | MW | One Value | 2-52 weeks ahead National Generating Plant Demand Margin | 6.1.2 (d) - Generating Plant Demand Margin forecast | H | Transparency Regulation figure is based on 'total load', which includes demand supplied by small generators (or an estimate thereof). | One Year | 15th of the month before the year | Elexon |  |  | GMA weekly margins | TOGA | Title - Country, Bidding Zone or Control Area name - Selected year - Measurement Unit - For the year, the forecast margin value
Transmission | 9 | A9 1 | 8.15 | Transmission work impacting on interconnection transfer capacity by >=100MW. | EXPANSION AND DISMANTLING PROJECTS | The document shall cover only one couple of areas. Expansion and dismantling projects are described with an estimated effect on the transfer capacity between two Areas, for each direction. The effect is expressed in a unit of measure (MW). Estimated effect can be positive as well as negative. The completion date of the project shall also be estimated. The concerned transmission assets are described by a list of resource objects of type AC Link, DC Link or Transformer. | ?? | pdf | n/a | n/a | N | Outside current BSC scope. | - | One week before the yearly capacity auction, but no later than December 15th at 2400 local time. | [5 empty] | Title - Unit of measurement (MW) - For each couple of Areas and direction, the estimated effect and the estimated date of completion, and any comments. The concerned assets shall be published as a list, with links to pages providing further details on each asset.
Outages | 10 | A10 1a | 11.2 | Planned outages on interconnections with impact on capacity >=100MW | PLANNED UNAVAILABILITY IN THE TRANSMISSION GRID | A planned outage in the transmission grid is described by the following: - An identification of the outage, having a status (active or cancelled) - A list of outage subjects, each one defined by the asset Type (AC Link, DC Link or Transformer) and the identification of the affected Asset. For each outage subject, an indicator will determine whether outage subject shall be disclosed or not on the public web site - The estimated outage time intervals, possibly given in a repeated pattern manner (e.g. every day of a given week, from 20:00 to 22:00). This implies that an arbitrarily number of time intervals may be included. - A couple of oriented interconnectors that are impacted along with the estimated effect on NTC, given in Measure Unit, per direction - Measure Unit is fixed to megawatt (MW) - For this data item, outage type is “planned”. - The reason for the planned outage - Optionally, a free-text comment may be included | MW | - | n/a | n/a | N (or H if P291 approved) | Transmission outages not reported under current BSC baseline. This would change if P291 were approved, as this type of outage information would be within P291 scope. | - |  | DAMAS |  |  |  |  | Title For each outage that falls within the selected date or date range, the following details are displayed: - Measure Unit The estimated effect on NTC, in each direction of the interconnector - Status (active or cancelled) - Type of outage (planned or actual) - If provided and permitted, the outage subjects with links to pages that provide full details; type, name and location. This is displayed in a list if more than one asset has been declared. - The reason for the outage - Comments, if available The following information is provided for each declared time interval that falls within the selected date or date range: - Start date and time - End date and time - If there is more than one version of the document, i.e. an update has been submitted, then all versions shall be available with clear indication of version number. Previous versions shall become visible by expanding the view.
Outages | 11 | A10 1b | 11.3 | Actual outages (planned and unplanned) with impact on capacity >=100MW | CHANGES IN ACTUAL AVAILABILITY IN THE TRANSMISSION GRID | Data description is almost identical to data item “Planned unavailability in the transmission grid [10.1.a]”, refer to chapter 11.2. The differences are: - outage type shall be “actual” - only one time interval is permitted - status is always “active” | MW | - | n/a | n/a | N (or H if P291 approved) | Transmission outages not reported under current BSC baseline. This would change if P291 were approved, as this type of outage information would be within P291 scope. | - |  | DAMAS |  |  |  |  | Same as planned outages
Outages | 12 | A10 1c | 11.10 | Changes in Actual Availability of off-shore grid for Wind Power | CHANGES IN ACTUAL AVAILABILITY OF OFF-SHORE GRID INFRASTRUCTURE | A change in the actual availability of off-shore grid infrastructure is described by the following: - An identification of the outage - A list of outage subjects, defined by the asset Type (AC Link, DC Link, Transformer, Generation Unit or Production Unit) and the identification of the affected Asset - The outage time interval - Bidding Zone and Control Area - Wind power fed in at the time of the change in the availability - Measure Unit is fixed to megawatt (MW) - Outage type is fixed to “actual” - Status is fixed to “active” - The reason for the outage - Optionally, a free-text comment may be provided | 100 MW | One hour after the change in acual availability | n/a | n/a | N (or H if P291 approved) | Transmission outages not reported under current BSC baseline. This would change if P291 were approved, as this type of outage information would be within P291 scope. | - | [6 empty] | Title - Measure Unit For each outage that falls within the selected date or date range, the following details are displayed: - Country or Bidding Zone - Status (always “active”) - Type of outage (always “actual”) - The outage subjects with links to pages that provide full details; asset type, name, location, production type and installed capacity (for Generation Units and Production Units). This is provided in a list if more than one asset has been declared. - The reason for the outage - Comments, if available - Start date and time - End date and time - Aggregated installed generation capacity - Wind power fed in If there is more than one version of the document, i.e. when an update has been submitted, then all versions shall be available with clear indication of version number. Previous versions shall become visible by expanding the view.
Transmission | 13 | A11 1a | TBC | Offered capacity | Offered DAY-AHEAD TRANSFER CAPACITY | For NTC-based allocation of capacities, the document shall cover one couple of areas and one direction only. Day-ahead offered transfer capacities are associated with a daily transmission auction (either implicit or explicit). | MW | Number of MTUs per day | n/a | n/a | N | View of first Issue 47 meeting was that Article 11 should remain outside BSC scope (as Interconnector owners or operators are better placed to report)? | - |  | DAMAS |  |  |  |  | * Title - Type of data: always “offered” - Day selection - Measurement Unit - For each oriented couple of Areas the following data is repeated: Areas, direction, comments and for each Market Time Unit within the selected day the capacity value and its computation status (for every classification category and classification sequence, when applicable)
Transmission | 14 | A11 1b | TBC | Offered day ahead capacity in implicit auction. | OFFERED DAY-AHEAD CAPACITY IN IMPLICIT TRANSMISSION AUCTIONS | Cross-border capacity can be allocated through implicit auctions. An Implicit Auction occurs between several (1 to n) Bidding Areas and presents a Bidding Period, which is the time period where market participants can submit bids and an Allocation Period, which is the time period where capacity allocation is calculated. An implicit auction offers several capacity products, each one being characterised by an In Area, an Out Area, a Delivery Period and a Contract Type (fixed to Day-Ahead). | MW | One value for each item for each MTU per day | n/a | n/a | N | View of first Issue 47 meeting was that Article 11 should remain outside BSC scope (as Interconnector owners or operators are better placed to report)? | - |  | Elexon |  |  |  |  | * Title - Region name (if applicable) - Bidding Areas name - Direction - Contract Type (fixed to “day-ahead”) - Delivery Period - Measurement Unit - For each Application Period within the Delivery Period, the offered capacity value
Transmission | 15 | A11 2 | 8.1 | Forecast net transfer capacity for next day. | Offered DAY-AHEAD TRANSFER CAPACITY | For NTC-based allocation of capacities, the document shall cover one couple of areas and one direction only. Day-ahead offered transfer capacities are associated with a daily transmission auction (either implicit or explicit). Offered day-ahead transfer capacity is described between an In Area (the Area flows come into) and an out Area (the Area flows come out from), for one day, by Market Time Unit period, with a capacity value expressed in Measure Unit, together with a computation Status (“minimum value” or “computed minimum value”). If there are several Capacity Products, capacity values are submitted separately per Classification Category and Classification Sequence. NTC-based values are applicable between two Bidding Zones or on a Technical Profile. Optionally, Offered day-ahead transfer capacity can be complemented with comments. | MW |  | n/a | n/a | N | View of first Issue 47 meeting was that Article 11 should remain outside BSC scope (as Interconnector owners or operators are better placed to report)? |  | One hour before the end of the bidding period for the day-ahead auction | [5 empty] | Title - Type of data: always “offered” - Day selection - Measurement Unit - For each oriented couple of Areas the following data is repeated: Areas, direction, comments and for each Market Time Unit within the selected day the capacity value and its computation status (for every classification category and classification sequence, when applicable)
Transmission | 16 | A11 2 | 8.11 | Forecast net transfer capacity for next week. | FORECASTED AND OFFERED WEEK-AHEAD TRANSFER CAPACITIES | For NTC-based allocation of capacities, the document shall cover one couple of areas and one direction only. Forecasted and offered capacities are submitted in separate documents. Weekly forecasted and offered transfer capacities are associated with a weekly explicit transmission auction. Forecasted and offered week-ahead transfer capacities are described between an In Area (the Area flows come into) and an out Area (the Area flows come out from), for one week, with a capacity value per day expressed in Measure Unit, together with a computation Status (“minimum value” or “computed minimum value”). For offered transfer capacities and if there are several Capacity Products, capacity values are submitted separately per Classification Category and Classification Sequence. NTC-based values are applicable between two Bidding Zones or on a Technical Profile. Optionally, forecasted and offered week-ahead transfer capacities can be complemented with comments. | MW | One value per day | n/a | n/a | N | View of first Issue 47 meeting was that Article 11 should remain outside BSC scope (as Interconnector owners or operators are better placed to report)? | One Week | Friday of the week before the auction’s delivery period | DAMAS |  |  |  |  | Title - Type of data: Forecasted or Offered - Week - Measurement Unit - For each oriented couple of Areas the following data is repeated: Areas, direction, comments and for each day within the week the capacity value and its computation status (for every classification category and classification sequence, when applicable, for offered capacity)
Transmission | 17 | A11 2 | 8.12 | Forecast net transfer capacity for next month | FORECASTED AND OFFERED MONTH-AHEAD TRANSFER CAPACITIES | For NTC-based allocation of capacities, the document shall cover one couple of areas and one direction only. Forecasted and offered capacities are submitted in separate documents. Monthly forecasted and offered transfer capacities are associated with a monthly explicit transmission auction. Forecasted and offered month-ahead transfer capacities are described between an In Area (the Area flows come into) and an out Area (the Area flows come out from), for one month, with a capacity value expressed in Measure Unit for every day, together with a computation Status (“minimum value” or “computed minimum value”) For offered transfer capacities and if there are several Capacity Products, capacity values are submitted separately per Classification Category and Classification Sequence. NTC-based values are applicable between two Bidding Zones or on a Technical Profile. Optionally, Forecasted and offered month-ahead transfer capacities can be complemented with comments. | MW | One value per week | n/a | n/a | N | View of first Issue 47 meeting was that Article 11 should remain outside BSC scope (as Interconnector owners or operators are better placed to report)? | One Month | two working days (D-2) before the associated monthly explicit auction bidding period. | DAMAS |  |  |  |  | Title - Type of data: Forecasted or Offered - Month - Measurement Unit - For each oriented couple of Areas the following data is repeated: Areas, direction, comments and for each day within the selected month the capacity value and its computation status (for every classification category and classification sequence, when applicable, for offered capacity)
Transmission | 18 | A11 2 | 8.13 | Forecast net transfer capacity for next year | FORECASTED AND OFFERED YEAR-AHEAD TRANSFER CAPACITIES | For NTC-based allocation of capacities, the document shall cover one couple of areas and one direction only. Forecasted and offered capacities are submitted in separate documents. Yearly forecasted and offered transfer capacities are associated with a yearly explicit transmission auction. Forecasted and offered year-ahead transfer capacities are described between an In Area (the Area flows come into) and an out Area (the Area flows come out), for one year, with a capacity value by month expressed in Measure Unit, together with a computation Status (“minimum value” or “computed minimum value”). For offered transfer capacities and if there are several Capacity Products, capacity values are submitted separately per Classification Category and Classification Sequence. NTC-based values are applicable between two Bidding Zones or on a Technical Profile. Optionally, Forecasted and offered year-ahead transfer capacities can be complemented with comments. | MW | One value per month | n/a | n/a | N | View of first Issue 47 meeting was that Article 11 should remain outside BSC scope (as Interconnector owners or operators are better placed to report)? | One Year | one week (W-1) before the associated yearly auction bidding period | DAMAS |  |  |  |  | Title Type of data: Forecasted or Offered- Year - Measurement Unit - For each oriented couple of Areas the following data is repeated: Areas, direction, comments and for each month within the selected year, the capacity value and its computation status (for every classification category and classification sequence, when applicable, for offered capacity)
Transmission | 19 | A11 2 | 8.14 | Intra Day Transfer Capacity | Offered INTRADAY TRANSFER CAPACITY | For NTC-based allocation of capacities, the document shall cover one couple of areas and one direction only. Intraday offered transfer capacities are associated with an intraday explicit transmission auction. Offered intraday transfer capacities are described between an In Area and an Out Area, for a time interval spanning up to a day. Values are provided for each MTU Period, with a capacity value expressed in Measure Unit (MW) together with a computation Status (“minimum value” or “computed minimum value”). if there are several Capacity Products, capacity values are submitted separately per Classification Category and Classification Sequence. NTC-based values are applicable between two Bidding Zones or on a Technical Profile. Optionally, offered intraday transfer capacity can be complemented with comments. In some situations there may not be any capacity values to submit. The reasons may then be provided in the Comments field. | MW | Number of MTUs per day | n/a | n/a | N | View of first Issue 47 meeting was that Article 11 should remain outside BSC scope (as Interconnector owners or operators are better placed to report)? | - |  | DAMAS |  |  |  |  | Title - Type of data: Always “offered” - Selected day - Measurement Unit - For each oriented couple of Areas the following data is repeated: Areas, direction, comments, and for each Market Time Unit period within the selected day, the capacity value and its computation status (for every classification category and classification sequence, when applicable)
Transmission | 20 | A11 3 | 8.16 | Restrictions on capacity due to ramping restrictions | CROSS-BORDER CAPACITY FOR DC LINKS – RAMPING RESTRICTIONS | This data item consists of a free text description, describing the ramping or other restrictions applied on a Transmission Asset of type DC Link. The two areas connected by the DC Link are also recorded. | - | pdf | n/a | n/a | N | Outside current BSC scope. | - | [6 empty] | Title - Area couple - Name of DC Link, with URL to page providing full details of the transmission asset - Description of the ramping restrictions submitted during the selected date range
Transmission | 21 | A11 3 | 8.17 | Restrictions on capacity due to intraday transfer limits. | CROSS-BORDER CAPACITY FOR DC LINKS – INTRADAY TRANSFER LIMITS | For two connected Areas, this data item describes intraday transfer limits in each direction, applied on a Transmission Asset of type DC Link, during a time interval up to one day. Values are provided per MTU period and expressed in measure unit (MW). Note that the transfer limits may be negative. | MW | pdf | n/a | n/a | N | Outside current BSC scope. | - | [6 empty] | Title - Unit of measurement (MW) - Area couple - Name of DC Link, with URL to page providing full details of the transmission asset - For each direction between the Areas and for each MTU period, the transfer limit
Transmission | 22 | A11 4 | 8.18 | Yearly congestion report, limiting constraints, corrective measures, long term solution. | CRITICAL NETWORK ELEMENTS | This data item consists of a PDF file that shall be associated with one or several Control Areas. No monitoring will be performed. | - | pdf | n/a | n/a | N | Outside current BSC scope. | - | [6 empty] | Each report shall be available for download by clicking a link. For every report, the bidding and publication date shall be displayed.
Transmission | 23 | A12 1a | 8.3 | Explicit Auctions- Offered capacity | EXPLICIT AUCTIONS - USE OF THE TRANSMISSION CAPACITY | The document shall contain data related to one auction only. Results of an Explicit Auction are given by capacity product for the Explicit Auction’s Delivery Period, i.e. the time interval during which the transfer capacity will be used. The length of the time interval depends on the auction’s Contract Type (one year, one month, one day, etc.).The results consist of: - the Requested Capacity with a quantity in quantity Measure Unit (MW) for each Market Time Unit period within the time interval - the Allocated Capacity with a quantity in quantity Measure Unit (MW) for each Market Time Unit period within the time interval - the Price of the Capacity with a price in Currency per Price Quantity Measure Unit (MWh) for each Market Time Unit period within the time interval | MW | One value for each item for each MTU per day | n/a | n/a | N | View of first Issue 47 meeting was that Article 12 should remain outside BSC scope (as Interconnector owners or operators are better placed to report)? | - | One hour after the action has taken place | [5 empty] | Title - Areas name - Contract Type - Conducting Party - Time interval - Measurement Unit for requested and allocated capacity - Currency for capacity price - Measurement Unit for capacity price - For each MTU Period within the time interval, the requested capacity value, the allocated capacity value and the capacity price value. This is repeated per direction, Classification Category and Classification Sequence.
Transmission | 24 | A12 1a | 8.4 | Explicit Auctions- Congestion revenue | EXPLICIT AUCTIONS – AUCTION REVENUE | The document shall contain data related to one auction only. Revenue from an Explicit Auction is given by Area couple for the Explicit Auction’s Delivery Period, i.e. the time interval during which the transfer capacity will be used. The length of the time interval depends on the auction’s Contract Type (one year, one month, one day, etc.). Revenue is expressed in a Currency. | MW | One value for each item for each MTU per day | n/a | n/a | N | View of first Issue 47 meeting was that Article 12 should remain outside BSC scope (as Interconnector owners or operators are better placed to report)? | - | One hour after the action has taken place | [5 empty] | Title - Area couple - Contract Type - Currency - For each delivery period during the selected date range, the auction revenue for the 1666 selected Area couple is displayed.
Transmission | 25 | A12 1b | 8.8 | Explicit Auctions- Total capacity nominated. | TOTAL CAPACITY NOMINATED | The document shall cover only one couple of bidding zones and direction. Values are expected for one day and are given by Market Time Unit period. Total Capacity Nominated is relevant only for borders between bidding zones where explicit auctions are being held. | MW | One value for each item for each MTU per day | n/a | n/a | N | View of first Issue 47 meeting was that Article 12 should remain outside BSC scope (as Interconnector owners or operators are better placed to report)? | - | One hour after the day-ahead cut-off time | [5 empty] | Title - selected Day - Measurement Unit - MTU - for each couple of Bidding Zones, for each Market Time Unit within the selected day, the total nominated capacity per direction and net positions in each Bidding Zone
Transmission | 26 | A12 1c | 8.2 | Explicit Auctions- Allocated capacity | TOTAL CAPACITY ALREADY ALLOCATED | The document shall contain data related to exactly one auction instance. For each couple of In and Out Areas covered by the auction’s capacity products, the aggregated resales of capacity is described per Contract Type, with one capacity value in measure Unit for each Market Time Unit period within a time interval corresponding to the auction’s Delivery Period. | MW | One value for each item for each MTU per day | n/a | n/a | N | View of first Issue 47 meeting was that Article 12 should remain outside BSC scope (as Interconnector owners or operators are better placed to report)? | - | One hour after the action has taken place | [5 empty] | Title - Areas name - Contract Type - Time window - Measurement Unit - For each MTU Period within the time window, the total capacity already allocated. This is repeated per direction.
Transmission | 27 | A12 1d | 8.19 | Explicit Auctions- Day Ahead Prices | DAY-AHEAD PRICES | The document shall cover only one bidding zone. For a given day, prices are given for every MTU period and expressed in currency per MWh. Day-ahead prices are relevant for all bidding zones covered by daily auctions, no matter if the auctions are explicit or implicit. | MW | One value for each item for each MTU per day | n/a | n/a | N | View of first Issue 47 meeting was that Article 12 should remain outside BSC scope (as Interconnector owners or operators are better placed to report)? | - | One hour after the action has taken place | [5 empty] | Title - Bidding Zone - Selected day - Currency - Quantity Measurement Unit (MWh) - For each MTU period during the selected day, the day-ahead price
Transmission | 28 | A12 1e | 8.5 | Implicit auction allocation results, prices and congestion income. | IMPLICIT AUCTIONS – NET POSITIONS | The document shall contain data related to exactly one auction. Net positions for an Implicit Auction are given by Bidding Zone for a given time interval corresponding to the implicit auction’s delivery period (for which transfer capacity was auctioned and will be used, i.e. the day ahead). The length of the time interval is fixed to one day. The Net Positions consist of a value for each Market Time Unit period during the day ahead, in Quantity Measure Unit (MW). Note that net position may be either positive or negative. | MW | One value for each item for each MTU per day | n/a | n/a | N | View of first Issue 47 meeting was that Article 12 should remain outside BSC scope (as Interconnector owners or operators are better placed to report)? | - | [6 empty] | Title - Region name (if selected) - Day - Measurement Unit (MW) - The following data is repeated for each selected Bidding Zone: Bidding Zone name and for each MTU Period within the selected day, the net position
Transmission | 29 | A12 1e | 8.6 | Implicit auction allocation results, prices and congestion income. | IMPLICIT AUCTIONS – CONGESTION INCOME | The document shall contain data related to exactly one auction. Congestion income for an Implicit Auction is given per Area couple for a given time interval corresponding to the implicit auction’s delivery period (for which transfer capacity was auctioned and will be used, i.e. the day ahead). The length of the time interval is fixed to one day. | MW | One value for each item for each MTU per day (48 for GB?) | n/a | n/a | N | View of first Issue 47 meeting was that Article 12 should remain outside BSC scope (as Interconnector owners or operators are better placed to report)? | - | [6 empty] | Title - Region name (if selected) - Day - The following is repeated for each border (i.e. couple of Bidding Zones): Name of Bidding Zones and currency and for each MTU Period within the selected day, the revenue amount
Transmission | 30 | A12 1f | 8.9 | Final commercial exchanges and physical flows. | SCHEDULED DAY-AHEAD COMMERCIAL EXCHANGES | Physical Flows are described between two Bidding Areas, with one flow value per operating Period of one Market Time Unit from area 1 to area 2 and one flow value from area 2 to area 1, in Measure Unit (MW). | MW | One value for each item for each MTU per day | n/a | n/a | N | View of first Issue 47 meeting was that Article 12 should remain outside BSC scope (as Interconnector owners or operators are better placed to report)? | - | One hour after last cut off time | [5 empty] | Title - selected Day - Measurement Unit - MTU - for each couple of Bidding Zones, for each Market Time Unit within the selected day, the capacity values per direction and net positions in each Bidding Zone
Transmission | 31 | A12 1g | 8.7 | Final physical flows. | PHYSICAL FLOWS | The document shall cover only one couple of areas. Physical Flows are described between two Bidding Zones with one flow value per Market Time Unit period from area 1 to area 2 and one flow value from area 2 to area 1, in Measure Unit (MW). Physically flows are naturally netted. This means that at least one of the flow values will always be zero. | MW | One value for each item for each MTU per day | Out-turn Interconnector flows | Q6.1.19 | H | Physical interconnector flows provided by National Grid and shown in graphical form on Electricity Summary Page. | - | one hour (H+1) after the end of the MTU Period. | [5 empty] | Title - Selected day - Measurement Unit - For each Bidding Zone couple, for each Market Time Unit within the selected day, the physical flow value from area 1 to area 2 and from area 2 to area 1
Transmission | 32 | A12 1h | 8.2 | Priority rights reserved capacity. | TRANSFER CAPACITIES ALLOCATED WITH THIRD COUNTRIES | The document shall contain data related to not more than one auction. For each capacity product, the allocated transfer capacity is described with one value for the whole Delivery Period. The length of the delivery period depends on the auction’s Contract Type (yearly, daily, etc.). Measure Unit is fixed to MW. For this data item, the capacity product’s In Area or Out Area may be a third country. | MW | One value per application period | n/a | n/a | N/A | View of first Issue 47 meeting was that Article 12 should remain outside BSC scope (as Interconnector owners or operators are better placed to report)? | - | [6 empty] | Title - Areas name - Date or date range - Contract Type - Measurement Unit - Attributes of the applicable capacity product(s): contract type, classification category, classification sequence and allocated capacity value.
Congestion Management Measures | 33 | A13 1a | 9.2 | Reasons and effects on NTC of TSO actions with impact >=100MW. | REDISPATCHING | For a given Bidding Zone, Control Area and Market Time Unit (MTU) period, redispatching is described by an Action and a Capacity Impact expressed in MW. A list of concerned resource objects is provided and optionally a reason may be included. Resource objects are of type Production Unit, Generation Unit or Consumption Unit. Document shall refer to only one Bidding Zone and Control Area. | MW | - | n/a | n/a | N | Outside current BSC scope. | - |  |  |  |  | BMRS |  | Bidding Zone - Market Time Unit - Day or date range - Measurement Unit - For each MTU period during the selected Day or date range, the Action and Capacity Impact. Reason is displayed if provided. A list of concerned resource objects shall be available, with links to pages providing more details on the resource objects.
Congestion Management Measures | 34 | A13 1b | 9.3 | Reasons and effects on NTC of TSO actions with impact >=100MW. | COUNTERTRADING | For a given Control Area and Market Time Unit (MTU) period, countertrading is described by an Action and a change in exchange expressed in MW out of one Bidding Zone into another Bidding Zone. Optionally, a reason is included. The change in exchange may be a positive or a negative value. Document shall cover one Bidding Zone couple only. | MW | - | n/a | n/a | N | Outside current BSC scope. | - |  |  |  |  | BMRS |  | Bidding Zone - Market Time Unit - Selected day or date range - Measurement Unit - For each MTU period during the selected day or date range, the Action, Reason (if available) and change in cross-zonal exchange
Generation | 35 | A14 1a | 6.2 | Forecast total generation capacity (>1MW) | INSTALLED GENERATION CAPACITY AGGREGATED | For a given Bidding Zone and Control Area, the Aggregated Installed Generation Capacity shall be recorded for all Production Types. Values are to be provided for 1 year. The fixed measure Unit is MW. | MW | One value per year | n/a | n/a | M | Details of capacities are published under the BSC, in disaggregated form, but only for BM Unit (i.e. not down to 1MW). | 3 Years | One week before the beginning of the year | National Grid |  |  | System Development - Warwick |  | Country or Bidding Zone name - Capacity per Production Type for each year - Grand total Capacity for each year shall also be displayed.
Generation | 36 | A14 1b | 6.3 | Unit installed and planned gross capacities for next 3 years (>100MW) | INSTALLED GENERATION CAPACITY PER UNIT | For every Production Unit in a given Bidding Zone and Control Area, Installed Generation Capacity >= 100 MW shall be recorded. Values are to be provided for 3 years, with one value per year. | 100MW | One value per year | n/a | V4.2.3 | H | Registration details for all BM Units are published under the BSC. | 3 Years | One week before the beginning of the year | National Grid |  |  | System Development - Warwick |  | Country or Bidding Zone name - Production Type, unique Code and Name - For every Production Unit and selected year(s), the installed capacity value(s)
Generation | 37 | A14 1c | 6.4 | Forecast aggregated generation for day ahead. | DAY AHEAD AGGREGATED GENERATION | For a given Bidding Zone and Control Area the Scheduled Generation for the day-ahead shall be recorded. The number of values corresponds to the number of Market Time Unit periods in one day. | MW | Number of MTUs per day | Initial National Day ahead Indicated Generation (INDGEN) | Q6.1.6 (c) | H | INDGEN defined as sum of PNs | - | 18:00, One day before actual delivery | Elexon |  |  | IS - SPICE IMBALNGC calculation to BMRS |  | Country or Bidding Zone name - Measure Unit - Selected Day - For every MTU period within the selected day, the scheduled generation values.
Generation | 38 | A14 1d | 6.8 | Forecast day ahead wind and solar generation (MWh). | DAY AHEAD GENERATION FORECASTS FOR WIND AND SOLAR | For a given Bidding Zone and Control Area there shall be a Forecast Aggregated Generation for wind and solar power, respectively. Values are provided for the day ahead, with a value per Market Time Unit (MTU) period. Forecasts for wind and solar, respectively, shall be provided in two separate data submissions. | MW | Number of MTUs per day | Summary Page Wind Forecast | Q6.1.17 | H |  | - | 18:00, One day before actual delivery | Elexon |  |  | EF - Windy Millar |  | Country or Bidding Zone name - Measure Unit - Selected day - For the selected Production Type (s), generation forecast values for each MTU period 888 within the selected start and end time
Outages | 39 | A15 1a | 11.4 | Forecast planned unavailabilities (available capacity changes >100MW). | PLANNED UNAVAILABILITY OF GENERATION UNITS | A planned unavailability on generation unit is described by the following: - An identification of the outage, having a status (active or cancelled) - Bidding Zone and Control Area - Type of outage is planned - The outage subject, defined by the asset Type (Generation Unit) and its Unique Code. - The estimated outage time intervals, possibly given in a repeated pattern manner (e.g. every day of a given week, from 20:00 to 22:00). This implies that an arbitrarily number of time intervals may be included. - The estimated available generation capacity in Measure Unit - The reason for the planned outage - Measure Unit is fixed to megawatt (MW) - Optionally, a free-text comment may be provided | 100MW | - | Total output usable (By Fuel Type and BM Unit) Maximum Export Limit | 6.1.4 c) Output Usable by BM units Q6.1.10 | M (or H if P291 approved) | Output Usable by BM Unit provides some insight into outages in planning timescales, and MEL in balancing timescales. There may be a gap between the two? This information would be inside the scope of P291 (if approved). | 3 Years | One hour after the decision regarding the planned unavailability | Elexon |  |  | IS - SPICE daily MEL submissions to BMRS |  | Title - Measure Unit (MW) For each outage that falls within the selected date or date range, the following details are displayed: - Status (active or cancelled) - The outage subject with link to page that provide full details; Production Type, Production and Generation Unit names and, if available, installed capacity. - The reason for the outage - Comments, if available - Country or Bidding Zone - Type of unavailability (planned or actual) - The available generation capacity The following information is provided for each declared time interval that falls within the selected date or date range: - Start date and time - End date and time If there is more than one version of the document, i.e. when an update has been submitted, then all versions shall be displayed with clear indication of version number. Previous versions shall become visible by expanding the view.
Outages | 40 | A15 1b | 11.5 | Unplanned unavailabilities (available capacity changes >100MW) | CHANGES IN ACTUAL AVAILABILITY OF GENERATION UNITS | Data description is almost identical to data item “Planned unavailability of generation units [15.1.a]”, refer to chapter 11.4. The differences are: - outage type shall be “actual” - only one time interval is permitted - status is always “active” | 100MW | - | Maximum Export Limit | Q6.1.10 | M (or H if P291 approved) | MEL provides information on unplanned outages (but not published until Gate Closure). This information would be inside the scope of P291 (if approved). | 3 Years | One hour after the change | Elexon |  |  | IS - SPICE daily MEL submissions to BMRS |  | same of above
Outages | 41 | A15 1c | 11.6 | Planned unavailability of a production unit of 200 MW or more including changes of 100 MW or more | PLANNED UNAVAILABILITY OF PRODUCTION UNITS | A planned unavailability on production unit is described by the following: - An identification of the outage, having a status (active or cancelled) - Bidding Zone and Control Area - Type of outage is planned - The outage subject, defined by the asset Type (Production Unit) and its Unique Code. - The estimated outage time intervals, possibly given in a repeated pattern manner (e.g. every day of a given week, from 20:00 to 22:00). This implies that an arbitrarily number of time intervals may be included. - The estimated available generation capacity in Measure Unit - The reason for the planned outage - Measure Unit is fixed to megawatt (MW) - Optionally, a free-text comment may be provided | 100MW | - | Total output usable (By Fuel Type and BM Unit) Maximum Export Limit | 6.1.4 c) Output Usable by BM units Q6.1.10 | M (or H if P291 approved) | Output Usable by BM Unit provides some insight into outages in planning timescales, and MEL in balancing timescales. There may be a gap between the two? This information would be inside the scope of P291 (if approved). | 3 Years | One hour after the decision regarding the planned unavailability | [5 empty] | Title - Measure Unit (MW) For each outage that falls within the selected date or date range, the following details are displayed: - Status (active or cancelled) - The outage subject with link to page that provide full details; Production Type, Production Unit name and, if available, installed capacity. - The reason for the outage - Comments, if available - Country or Bidding Zone - Type of unavailability (planned or actual) - The available generation capacity The following information is provided for each declared time interval that falls within the selected date or date range: - Start date and time - End date and time If there is more than one version of the document, i.e. when an update has been submitted, then all versions shall be displayed with clear indication of version number. Previous versions shall become visible by expanding the view.
Outages | 42 | A15 1d | 11.7 | Changes of 100 MW or more in actual availability of a production unit with an installed generation capacity of 200 MW or more | CHANGES IN ACTUAL AVAILABILITY OF PRODUCTION UNITS | Data description is almost identical to data item “Planned unavailability of production units [15.1.c]”, refer to chapter 11.6. The differences are: - outage type shall be “actual” - only one time interval is permitted - status is always “active” | 100MW | - | Maximum Export Limit | Q6.1.10 | M (or H if P291 approved) | MEL provides information on unplanned outages (but not published until Gate Closure). This information would be inside the scope of P291 (if approved). | 3 Years | One hour after the decision regarding the planned unavailability | [5 empty] | Same as above
Generation | 43 | A16 1a | 6.6 | Actual unit generation MW (units >100MW installed capacity) | ACTUAL GENERATION OUTPUT PER GENERATION UNIT | For a given Bidding Zone, Control Area and Market Time Unit (MTU) period, the Actual Generation Output shall be recorded per Generation Unit having installed generation capacity >= 100 MW. | MW | Number of MTUs per day | n/a | Annex V-1, Table 2, SAA reporting | H | The required information is published (based on Settlement metering) from the II run, but not publicly (only to BSC Parties and others who licence the data) | - | Five days after the end of the MTU period |  |  |  | IS - SORT/SPICE to BMRS |  | Country or Bidding Zone name - Production Type, Code and Name of every Generation Unit - selected day - For every Generation Unit, the actual generation output per MTU period within the selected start and end time
Generation | 44 | A16 1b, 1c | 6.7 | Actual aggregated generation MW (units >100MW installed capacity) | ACTUAL AGGREGATED GENERATION PER TYPE | For a given Bidding Zone, Control Area and a given Production Type, there shall be an Actual Aggregated Generation Output per Market Time Unit (MTU) period. | MW | Number of MTUs per day | Summary Page - Generation by Fuel Type, Wind forecast out-turn | Q6.1.19 | H | Data already published on BMRS based on operational metering. (ENTSO-E may require slightly different categorisation of production types). | - | One hour after the operational period | Elexon |  |  | IS - SORT/SPICE to BMRS |  | Country or Bidding Zone name - Selected day - For the selected Production Type(s), for each MTU period within the selected start and end time, the actual aggregated generation output
Generation | 45 | A16 1d | 6.5 | Ex-post filling rate for water reservoirs (MWh) - previous week. ONLY IF COUNTRY has >10% Hydro. | AGGREGATED FILLING RATE OF WATER RESERVOIRS AND HYDRO STORAGE PLANTS | For a given Bidding Zone and Control Area there shall be a weekly Stored Energy Value. Not Required as Hydro Generation is less than 10 per cent for GB. | MWh | NA | n/a | n/a | n/a | NOT REQUIRED FOR GB | NA | Third working day of the following week |  |  |  | Generating companies | NA | Country or Bidding Zone name - Measure Unit - selected week(s) - Stored Energy Values for the selected week(s) and the same week(s) during previous year
Balancing | 46 | A17 1a | 10.13 | Balancing Rules for reserve procurement | RULES ON BALANCING | This data item consists of a PDF file per Market Area. No monitoring will be performed. | - | pdf | n/a | n/a | M | Currently the BSC is published under BSC governance (including rules on imbalance settlement and BOA settment); but not other rules e.g. procurement of balancing services. | - |  | National Grid |  |  | Procurement Guidelines, Balancing Principles Statement |  | Each report shall be available for download by clicking a link. For every report, the Market Area and publication date shall be displayed.
Balancing | 47 | A17 1b | 10.2 | Contracted balancing reserves by category. | CONTRACTED BALANCING RESERVES | The process in consideration for this data item is “Reservation of capacity”. For this data item, the submitted document shall contain values pertaining to only one Market Area and Contract Type at a time. This item describes for the applicable Reserves in the considered Market Area and a given Contract Type (yearly, monthly, etc.) and contracted time period the quantity of contracted balancing reserve volume upwards and/or volume downwards in a given fixed measure Unit (MW). For this data item, it is mandatory to qualify Reserve by Source. At least one of the upwards or downwards volumes must be given (both is possible but none is not possible). | MW | At least one upwards or downwards | N | n/a | N | Volumes of reserves procured currently published by National Grid outside BSC governance, | - | Two hours before the next procurement | National Grid |  |  | Market reports, MBSS |  | Title - Market Area name - Contract Type - Selected date or date range - Measurement Unit - For reserves with contracted time period partially or completely within the selected date or date range, the contracted Up and/or Down Volumes, Reserve Type and Source and the contracted time period
Balancing | 48 | A17 1c | 10.3 | Prices of ex ante reserve categories. | PRICES OF PROCURED BALANCING RESERVES | The process in consideration for this data item is “Reservation of capacity”. For this data item, the submitted document shall contain values pertaining to one Market Area and Contract Type only. This item describes for a Market Area, Contract Type and contracted time interval, for the applicable Reserves the price of procured reserve volume upwards and/or volume downwards in a given currency and fixed measure Unit (MW). Source of Reserve is optionally provided. For each Reserve, at least one of the upwards or downwards prices must be given (both is possible but none is not possible). | £ | At least one upwards or downwards | N | n/a | N | Prices of reserves procured currently published by National Grid outside BSC governance, | - | One hour after the procurement process | National Grid |  |  | Market reports, MBSS |  | Title - Market Area name - Measurement Unit - Currency - Price Type - Contract Type For each Reserve with a contracted time period at least partially within the selected date or date range, the Up and/or Down Price and contracted time period, Reserve Type and Source (if provided) are displayed.
Balancing | 49 | A17 1d | 10.4 | Ex-post aggregated reserve offers by category. | ACCEPTED AGGREGATED OFFERS | The process in consideration for this data item is “Offering of capacity for activation”. For each applicable Market Area, there should be a given Balancing Time Unit value. For this data item, the submitted document shall contain values pertaining to one Market Area only. This item describes for a time interval, equal to one Balancing Time Unit, and for the applicable Reserves in the considered Market Area, the aggregated accepted volume for activation, upwards and/or downwards in a given fixed measure Unit (MW). Source of Reserve is optionally included.Optionally, the offered volume may also be included, when there might be a difference between accepted and offered volumes due to market rules. At least one of the upwards or downwards volumes must be given (both is possible but none is not possible). | MW | At least one upwards or downwards | Market Depth | Q6.1.11 - Bid-Offer Data | M | The BMRS does publish details of all the Bid Offers available to National Grid, but these are not categorised by Reserve Type. In addition the BMRS does not publish the volume of energy available outside of the Balancing Mechanism. | - | One hour after the operating period |  |  |  | On BMRS but not tagged explicitly for reserve, MBSS too late |  | Title - Market Area name - Reserve: Type and Source (if provided) - Balancing Time Unit for the given Market Area - Day - Measurement Unit - The Up and/or Down Accepted Volumes per Balancing Time Unit within the Time Window for all applicable Reserves. If it has been provided, Offered Volume is also displayed.
Balancing | 50 | A17 1e | 10.5 | Ex-post activated balancing reserve by product. | ACTIVATED BALANCING ENERGY | The process in consideration for this data item is “Activation of energy”. For each applicable Market Area there should be a given Balancing Time Unit value. For this data item, the submitted document shall contain values pertaining to only one Market Area. This item describes for a time interval, equal to one Balancing Time Unit, and for the applicable Reserves in the considered Market Area, the volumes of activated balancing reserves, upwards and/or downwards in a given fixed measure Unit (MWh). Source of Reserve is optionally included. At least one of the upwards or downwards volumes must be given (both is possible but none is not possible). | MWh | At least one upwards or downwards | Market Activity / Non-BM Instructed Volumes | Q6.1.12 (Bid Offer Acceptances) and Q6.1.22 (Non-BM STOR Instructed Volume) | M | The BMRS does publish details of all balancing energy activated through the Balancing Mechanism; and the total volume of Non-BM STOR. But the data is not categorised by Reserve Type, and does not include other types of balancing servies e.g. Frequency Response. | - | 30 minutes after the operating period |  |  |  | On BMRS but not tagged explicitly for reserve, MBSS too late |  | Title - Market Area name - Reserve: Type and Source (if provided) - Balancing Time Unit for the given Market Area - Day - Measurement Unit - The Up and/or Down Volumes per Balancing Time Unit within the Time Window for all applicable Reserves
Balancing | 51 | A17 1f | 10.6 | Ex-post prices paid for balancing energy including reserve products. | PRICES OF ACTIVATED BALANCING ENERGY | The process in consideration for this data item is “Activation of energy”. For each applicable Market Area there should be a given Balancing Time Unit value. For this data item, the submitted document shall contain values pertaining to only one Market Area. This item describes for a time interval, equal to one Balancing Time Unit, for the applicable Reserves in the considered Market Area, the price of activated balancing reserves, upwards and/or downwards in a given currency and fixed measure Unit (MWh). Price type must also be specified. Source of Reserve is optionally included. At least one of the upwards or downwards prices must be given (both is possible but none is not possible). | £ | At least one upwards or downwards | Market Activity | Q6.1.12 - Bid Offer Acceptances | M | The BMRS publishes prices for all balancing energy activated through the Balancing Mechanism, but not for other balancing services (e.g. non-BM STOR). Also the prices are not broken down by reserve type. | - | One hour after the operating period |  |  |  | On BMRS but not tagged explicitly for reserve, MBSS too late |  | Title - Market Area name - Reserve: Type and Source (if provided) - Balancing Time Unit for the given Market Area - Day - Measurement Unit - Currency - Price Type - The Up and/or Down Prices per Balancing Time Unit within the Time Window for the given Market Area and all applicable Reserves, along with the Price Type
Balancing | 52 | A17 1g | 10.7 | Market Imbalance prices. | IMBALANCE PRICES | The process in consideration for this data item is “Imbalance settlement”. For each applicable Market Area, there should be a given Balancing Time Unit value and two or three applicable price types. For this data item, the submitted document shall contain values pertaining to only one Market Area. This item describes for a time interval, equal to one Balancing Time Unit, the imbalance prices in a given currency and fixed measure Unit (MWh). | £ | Number of MTUs per day | System Prices | V2.6.5 - Indicative System Buy Price & Indicative System Sell Price | H | Already published | - | Two hours after the end of the time interval |  |  |  | Published by ELEXON on BMRS (SBP, SSP) |  | Title - Market Area name - Balancing Time Unit for the given Market Area - Day - Measurement Unit - Currency - For each applicable Price Type, the Price Type and the price per Balancing Time Unit within the Time Window for the given Market Area
Balancing | 53 | A17 1h | 10.8 | Aggregated imbalance volumes | AGGREGATED IMBALANCE VOLUMES | The process in consideration for this data item is “Imbalance settlement”. For each applicable Market Area, there should be a given Balancing Time Unit value. For this data item, the submitted document shall contain values pertaining to only one Market Area. This item describes for a time interval, equal to one Balancing Time Unit, the total imbalance volume in a given fixed measure Unit (MWh), together with a status of the data (estimated or final). | MWh | Number of MTUs per day | System Prices | V2.6.5 - Indicative Net Imbalance Volume | H | Already published | - | 30 minutes after the operating period | Elexon |  |  | BMRS NIV |  | Title - Market Area name - Balancing Time Unit for the given Market Area - Day - Measurement Unit - Status of data (Estimated or Final) for each Balancing Time Unit within the Time Window for the given Market Area - The total imbalance volume per Balancing Time Unit within the Time Window for the given Market Area
Balancing | 54 | A17 1i | 10.9 | Monthly financial balance of the control area | FINANCIAL EXPENSES AND INCOME FOR BALANCING | The process in consideration for this data item is “Financial accounting”. For each applicable Market Area, this item describes for each month, the expenses and income, in a given currency, together with a status of this financial information (provisional or final). | £ | One per Month | n/a | Annex V-1, Table 2, SAA reporting | M | Governance for this currently split across BSC (for imbalance income i.e. RCRC) and CUSC (for costs i.e. BSUoS). RCRC details are published by SAA, but not publicly i.e. only to BSC Parties and others who licence the data. | - | Three months after the operating period | National Grid |  |  | BSIS Perf - MBSS on NG website |  | Title - Market Area name - Time Window - Currency - For each month, the status of data (Provisional or Final) - For each month, the income - For each month, the expense - For each month, the calculated difference between the expense and income
Balancing | 55 | A17 1j | 10.1 | Volumes of CBB bids and offers. | CROSS-BORDER BALANCING – VOLUMES OF EXCHANGED BIDS AND OFFERS | The process in consideration for this data item is “Offering of capacity for cross-border activation”. For each applicable acquiring Market Area, there should be a given Balancing Time Unit value. This item describes for each applicable connecting Market Area, for a time interval equal to one Balancing Time Unit, the quantity of aggregated volume of offers for activation from the connecting Market Area, upwards and/or downwards in a given fixed measure Unit (MW). At least one of the upwards or downwards volumes must be given (both is possible but none is not possible). | MW | At least one upwards or downwards | n/a | n/a | N | Not currently reported under BSC governance | - | One hour after the operating period | BALIT |  |  | Published on BALIT |  | Title - Acquiring Market Area name - Connecting Market Area name - Balancing Time Unit for the given Acquiring Market Area - Day - Measurement Unit - The Up and/or Down Volumes per Balancing Time Unit within the Time Window for the given Acquiring Market Area and Connecting Market Area. This is repeated for all Connecting Market Areas if no specific one was selected.
Balancing | 56 | A17 1j | 10.11 | Max/Min prices of CBB bids and offers. | CROSS-BORDER BALANCING - PRICES | The process in consideration for this data item is “Offering of capacity for cross-border activation”. For each applicable acquiring Market Area, there should be a given Balancing Time Unit value. This item describes for each applicable connecting Market Area, for a time interval equal to one Balancing Time Unit, the maximum price of offers for upwards regulation, the minimum price of offers for upwards regulation, the maximum price of offers for downwards regulation and the minimum price of offers for downwards regulation, in a given currency and fixed measure Unit (MWh per MTU). | £ | - | SO-SO trades | n/a | L | Prices for SO-SO trades currently reported on BMRS (but voluntarily - there is no BSC obligation). | - | One hour after the operating period | BALIT |  |  | Published on BALIT |  | Title - Acquiring Market Area name - Connecting Market Area name - Balancing Time Unit for the given Acquiring Market Area - Day - Measurement Unit - Currency - The maximum and minimum prices for Upwards regulation, the maximum and minimum prices for Downwards regulation, per Balancing Time Unit within the Time Window for the given Acquiring Market Area and Connecting Market Area. This is repeated for all Connecting Market Areas if no specific one was selected.
Balancing | 57 | A17 1j | 10.12 | Volumes of balancing energy in each control area for joint CBB actions. | CROSS-BORDER BALANCING ENERGY ACTIVATED | The process in consideration for this data item is “Cross-border activation of energy”. For each applicable acquiring Market Area, there should be a given Balancing Time Unit value. This item describes for each applicable connecting Market Area, for a time interval equal to one Balancing Time Unit, the volumes of upwards and/or downwards offers activated received from this connecting Market Area in a given fixed measure Unit (MWh). At least one of the upwards or downwards volumes must be given (both is possible but none is not possible). | MW | At least one upwards or downwards | n/a | n/a | N | Not currently reported under BSC governance | - | One hour after the operating period | BALIT |  |  | Published on BALIT |  | Title - Acquiring Market Area name - Connecting Market Area name - Balancing Time Unit for the given Acquiring Market Area - Day - Measurement Unit - The Up and/or Down Volumes of Activated Offers per Balancing Time Unit within the Time Window for the given Acquiring Market Area and Connecting Market Area. This is repeated for all Connecting Market Areas if no specific one was selected.

## RAG Status
Red | 2
Amber | 24
Green | 30
Not Applicable | 1
Total | 57

## Deprecated
Category | Sr.No | Regulation Ref | EMFIP BRS Ref | Requirement Title | ERGEG Title | Description | Threshold/ Unit | Number of Values | Duration of Data | Timing | Published on | Data Owner | Impact on GB Code | As-Is Process | To-Be | Display
Balancing | 40 | A17 1a | 4.4.1.1.2 | Price setting for activated reserves | [6 empty] | National Grid | Sal |  | STOR and FFR assessment principles methodology - NG website
Balancing | 41 | A17 1a | 4.4.1.1.3 | Calculation Methodology for imbalance charges | [6 empty] | Elexon Generated | Elexon |  | ELEXON - BSC
Balancing | 42 | A17 1a | 4.4.1.1.4 | CBB process and participation conditions | [6 empty] | Elexon | Nigel Fox |  | Nigel Fox
Transmission | 14 | A11 2 | 4.2.2.5 | Forecast net transfer capacity. | DAY-AHEAD NTC | Day-ahead NTC is described between an In Area (the Area flows come into) and an out Area (the Area flows come out), for a delivery Period spanning one day, by Market Time Unit, with a capacity value expressed in Measure Unit, together with a computation Status (“minimum value” or “computed minimum value”) | MW | One value for each item for each MTU per day (48 for GB?) | One Day |  | DAMAS | Vince |  | NGIL -> DAMAS |  | * Title - Bidding Area, Bidding Areas Aggregation or Technical Profile name - Direction - Delivery Period (day selection) - Measurement Unit - For each oriented couple of Areas, for each Market Time Unit within the Delivery Period, the capacity value - Comments
Balancing | 51 | A17 1f incl | 4.4.1.10 | Daily volumes of bid/offers used by category (gen, dem, i/c). | [7 empty] | Paul Hurlock |  | BOAs are on BMRS but not currently tagged by Fuel Type
Transmission | 20 | A11 1b | 4.2.3.1 | Physical margins available at day ahead |  | Not Applicable- currently no implicit auctions | N/A | N/A | N/A |  |  |  |  | N/A | N/A | Not Applicable- currently no implicit auctions
Transmission | 21 | A11 1b | 4.2.3.2 | Flow-based allocation capacities |  | Not Applicable- currently no implicit auctions | N/A | N/A | N/A |  |  |  |  | N/A | N/A | Not Applicable- currently no implicit auctions
Transmission | 22 | A11 1b | 4.2.3.3 | Intra-day physical margins |  | Not Applicable- currently no implicit auctions | N/A | N/A | N/A |  |  |  |  | N/A | N/A | Not Applicable- currently no implicit auctions
Generation | 31 | Deprecated? | 4.3.2.3 | Unit installed and planned available capacities for next 3 years (>100MW) | AVAILABLE CAPACITY OF EACH GENERATION UNIT | For every Generation Unit in a given Bidding Area the weekly Available Generation Capacity shall be recorded. Values are to be provided for 3 years, with one value for every week | 100MW | One value per week | 3 Years |  | Elexon | Mike Harford |  | GMA OC2 data in TOGA |  | * Bidding Area name - Generation Type, unique Code and Name - Operating Period - Available Capacity